## Heat Pumps
List of Accepted Heat Pump Products for Council Funding Programmes
Title | Brand | Model Number | Type | Rated Heating Capacity (kW) | Input Power(kW) | Rated Cooling Capacity (kW) | Dimensions H W D (mm) | Website
Carrier 53QHB090 | Carrier | 53QHB090 | High Wall | 9.7 | 2.7 | 9
Daikin FTXM20R / RXM20R | DAIKIN | FTXM20R / RXM20R | High Wall | 2.8 | 0.58 | 2 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM20UVMZ/RXM20UVMZ | Daikin | FTXM20UVMZ/RXM20UVMZ | High wall | 2.8 | 0.58 | 2 | 285 x 770 x 226 | www.daikin.co.nz
Daikin FTXM25R / RXM25R | DAIKIN | FTXM25R / RXM25R | High Wall | 3.3 | 0.68 | 2.5 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM25UVMZ/RXM25UVMZ | Daikin | FTXM25UVMZ/RXM25UVMZ | High wall | 3.3 | 0.68 | 2.5 | 285 x 770 x 226 | www.daikin.co.nz
Daikin FTXM35R / RXM35R | DAIKIN | FTXM35R / RXM35R | High Wall | 4 | 0.87 | 3.5 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM35UVMZ/RXM35UVMZ | Daikin | FTXM35UVMZ/RXM35UVMZ | High wall | 4 | 0.87 | 3.5 | 285 x 770 x 226 | www.daikin.co.nz
Daikin FTXM46R / RXM46R | DAIKIN | FTXM46R / RXM46R | High Wall | 5.4 | 1.41 | 4.6 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM46UVMZ/RXM46UVMZ | Daikin | FTXM46UVMZ/RXM46UVMZ | High wall | 5.4 | 1.39 | 4.6 | 285 x 770 x 226 | www.daikin.co.nz
Daikin FTXM50R / RXM50R | DAIKIN | FTXM50R / RXM50R | High Wall | 6.1 | 1.34 | 5 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM50UVMZ/RXM50UVMZ | Daikin | FTXM50UVMZ/RXM50UVMZ | High wall | 6.1 | 1.34 | 5 | 295 x 990 x 266 | www.daikin.co.nz
Daikin FTXM60R / RXM60R | DAIKIN | FTXM60R / RXM60R | High Wall | 7.3 | 1.7 | 6 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM60UVMZ/RXM60UVMZ | Daikin | FTXM60UVMZ/RXM60UVMZ | High wall | 7.3 | 1.66 | 6 | 295 x 990 x 266 | www.daikin.co.nz
Daikin FTXM71R / RXM71R | DAIKIN | FTXM71R / RXM71R | High Wall | 8.1 | 1.98 | 7.1 | 303 x 998 x 212 | http://www.daikin.co.nz
Daikin FTXM71UVMZ/RXM71UVMZ | Daikin | FTXM71UVMZ/RXM71UVMZ | High wall | 8.1 | 1.92 | 7.1 | 295 x 990 x 266 | www.daikin.co.nz
Daikin FTXM85P / RXM85P | Daikin | FTXM85P / RXM85P | High Wall | 9 | 2.42 | 8.5 |  | http://www.daikin.co.nz
Daikin FTXS25L / RXS25L | DAIKIN | FTXS25L / RXS25L | High Wall | 3.4 | 0.7 | 2.5 | 295 x 800 x 215 | http://www.daikin.co.nz
Daikin FTXS35L / RXS35L | DAIKIN | FTXS35L / RXS35L | High Wall | 4 | 0.88 | 3.5 | 295 x 800 x 215 | http://www.daikin.co.nz
Daikin FTXS50L / RXS50L | DAIKIN | FTXS50L / RXS50L | High Wall | 6 | 1.47 | 5 | 340 x 1050 x 248 | http://www.daikin.co.nz
Daikin FTXS60L / RXS60L | DAIKIN | FTXS60L / RXS60L | High Wall | 7 | 1.73 | 6 | 340 x 1050 x 248 | http://www.daikin.co.nz
Daikin FTXS71L / RXS71L | DAIKIN | FTXS71L / RXS71L | High Wall | 8 | 2.18 | 7.1 | 340 x 1050 x 248 | http://www.daikin.co.nz
Daikin FTXS85L / RXS85L | DAIKIN | FTXS85L / RXS85L | High Wall | 9 | 2.51 | 8.5 | 340 x 1200 x 240 | http://www.daikin.co.nz
DAIKIN FTXV20U / RXV20U | DAIKIN | FTXV20U / RXV20U | High wall | 2.7 | 0.59 | 2 | 285 x 770 x 223 | www.daikin.co.nz
DAIKIN FTXV25U / RXV25U | DAIKIN | FTXV25U / RXV25U | High wall | 3.2 | 0.65 | 2.5 | 285 x 770 x 223 | www.daikin.co.nz
DAIKIN FTXV35U / RXV35U | DAIKIN | FTXV35U / RXV35U | High wall | 3.7 | 0.79 | 3.5 | 285 x 770 x 223 | www.daikin.co.nz
DAIKIN FTXV46U / RXV46U | DAIKIN | FTXV46U / RXV46U | High wall | 4.7 | 1.18 | 4.6 | 285 x 770 x 223 | www.daikin.co.nz
DAIKIN FTXV50U / RXV50U | DAIKIN | FTXV50U / RXV50U | High wall | 6 | 1.43 | 5 | 295 x 990 x 263 | www.daikin.co.nz
DAIKIN FTXV60U / RXV60U | DAIKIN | FTXV60U / RXV60U | High wall | 7.2 | 1.73 | 6 | 295 x 990 x 263 | www.daikin.co.nz
DAIKIN FTXV71U / RXV71U | DAIKIN | FTXV71U / RXV71U | High wall | 8 | 2.03 | 7.1 | 295 x 990 x 263 | www.daikin.co.nz
DAIKIN FTXV85L / RXV85L | DAIKIN | FTXV85L / RXV85L | High wall | 9 | 2.41 | 8.5 | 340 x 1200 x 259 | www.daikin.co.nz
Daikin FTXZ25N / RXZ25N | DAIKIN | FTXZ25N / RXZ25N | High Wall | 3.6 | 0.62 | 2.5 | 295 x 798 x 370 | http://www.daikin.co.nz
Daikin FTXZ35N / RXZ35N | DAIKIN | FTXZ35N / RXZ35N | High Wall | 5 | 0.99 | 3.5 | 295 x 798 x 370 | http://www.daikin.co.nz
Daikin FTXZ50N / RXZ50N | DAIKIN | FTXZ50N / RXZ50N | High Wall | 6.3 | 1.37 | 5 | 295 x 798 x 370 | http://www.daikin.co.nz
Daikin FVXS25R / RXS25R | DAIKIN | FVXS25R / RXS25R | Floor Console | 2.9 | 0.63 | 2.46 | 600 x 700 x 210 | http://www.daikin.co.nz
Daikin FVXS35R / RXS35R | DAIKIN | FVXS35R / RXS35R | Floor Console | 4.52 | 1.16 | 3.5 | 700 x 600 x 210 | http://www.daikin.co.nz
Daikin FVXS45R / RXS45R | DAIKIN | FVXS45R / RXS45R | Floor Console | 5.56 | 1.45 | 4.5 | 600 x 700 x 210 | http://www.daikin.co.nz
Daikin FVXS50R / RXS50R | DAIKIN | FVXS50R / RXS50R | Floor Console | 5.8 | 1.44 | 5 | 770 x 850 x 290 | http://www.daikin.co.nz
FUJITSU ABTG24LVTC/AOTG24LATC | FUJITSU | ABTG24LVTC/AOTG24LATC | Floor Console | 8 | 2.21 | 7.1 | 199 x 990 x 655 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG09KMCA/AOTG09KMCA | FUJITSU | ASTG09KMCA/AOTG09KMCA | High Wall | 3.2 | 0.65 | 2.5 | 268 x 840 x 203 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG09KMCB | FUJITSU | ASTG09KMCB | High Wall | 3.2 | 0.63 | 2.5 | N/A | http://www.fujitsugeneral.co.nz
FUJITSU ASTG09KUCA/AOTG09KUCA | FUJITSU | ASTG09KUCA/AOTG09KUCA | High Wall | 3.2 | 0.67 | 2.5 | 282 x 870 x 185 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG09LVCC | FUJITSU | ASTG09LVCC | High Wall | 3.4 | 0.73 | 2.5 | 293 x 790 x 225 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG12KMCA/AOTG12KMCA | FUJITSU | ASTG12KMCA/AOTG12KMCA | High Wall | 3.7 | 0.81 | 3.5 | 268 x 840 x 203 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG12KMCB | FUJITSU | ASTG12KMCB | High Wall | 3.7 | 0.81 | 3.5 | N/A | http://www.fujitsugeneral.co.nz
FUJITSU ASTG12KMTC | FUJITSU | ASTG12KMTC | High Wall | 3.7 | 0.79 | 3.5 |  | http://www.fujitsugeneral.co.nz
FUJITSU ASTG12KUCA/AOTG12KUCA | FUJITSU | ASTG12KUCA/AOTG12KUCA | High Wall | 4.3 | 1.06 | 3.5 | 282 x 870 x 185 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG12LVCC | FUJITSU | ASTG12LVCC | High Wall | 4.8 | 1.11 | 3.5 | 293 x 790 x 225 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG18KMCA/AOTG18KMCA | FUJITSU | ASTG18KMCA/AOTG18KMCA | High Wall | 6 | 1.42 | 5 | 295 x 940 x 270 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG18KMCB | FUJITSU | ASTG18KMCB | High Wall | 6 | 1.42 | 5 | 295 x 940 x 270 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG18KMTC | FUJITSU | ASTG18KMTC | High Wall | 6 | 1.28 | 5 |  | http://www.fujitsugeneral.co.nz
FUJITSU ASTG18LUCB | FUJITSU | ASTG18LUCB | High Wall | 6 | 1.58 | 5 | 282 x 870 x 185 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG18LVCC | FUJITSU | ASTG18LVCC | High Wall | 6 | 1.49 | 5 | 293 x 790 x 225 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG22KMCA/AOTG22KMCA | FUJITSU | ASTG22KMCA/AOTG22KMCA | High Wall | 7.2 | 1.77 | 6 | 295 x 940 x 270 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG22KMCB | FUJITSU | ASTG22KMCB | High Wall | 7.2 | 1.77 | 6 | 295 x 940 x 270 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG24KMCA/AOTG24KMCA | FUJITSU | ASTG24KMCA/AOTG24KMCA | High Wall | 8 | 2.12 | 7.1 | 295 x 940 x 270 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG24KMCB | FUJITSU | ASTG24KMCB | High Wall | 8 | 2.12 | 7.1 | 295 x 940 x 270 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG24KMTC | FUJITSU | ASTG24KMTC | High Wall | 8 | 1.91 | 7.1 |  | http://www.fujitsugeneral.co.nz
FUJITSU ASTG24LFCC/AOTG24LFCC | FUJITSU | ASTG24LFCC/AOTG24LFCC | High Wall | 8 | 2.26 | 7.1 | 320 x 998 x 238 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG30KMTA/AOTG30KMTA | FUJITSU | ASTG30KMTA/AOTG30KMTA | High Wall | 9 | 2.34 | 8.5 | 340 x 1150 x 280 | http://www.fujitsugeneral.co.nz
FUJITSU ASTG30KMTC | FUJITSU | ASTG30KMTC | High Wall | 9 | 2.34 | 8.5 |  | http://www.fujitsugeneral.co.nz
FUJITSU AUTA36LCLU | FUJITSU | AUTA36LCLU | Ceiling cassette | 11.2 | 2.98 | 10 | 288 x 840 x 840 | http://www.fujitsugeneral.co.nz
FUJITSU AUTG24LVLC/AOTG24LATC | FUJITSU | AUTG24LVLC/AOTG24LATC | Ceiling cassette | 8 | 2.21 | 7.1 | 245 x 570 x 570 | http://www.fujitsugeneral.co.nz
FUJITSU AUTG30KRLA/AOTG30KBTA | FUJITSU | AUTG30KRLA/AOTG30KBTA | Ceiling cassette | 10 | 2.62 | 8.5 | 840 x 840 x 288 | http://www.fujitsugeneral.co.nz
FUJITSU AUTG36KRLA/AOTG36KBTA | FUJITSU | AUTG36KRLA/AOTG36KBTA | Ceiling cassette | 11.2 | 2.48 | 10 | 840 x 840 x 288 | http://www.fujitsugeneral.co.nz
FUJITSU AUTG45KRLA/AOTG45KBTA | FUJITSU | AUTG45KRLA/AOTG45KBTA | Ceiling cassette | 14 | 3.44 | 12.5 | 840 x 840 x 288 | http://www.fujitsugeneral.co.nz
FUJITSU AWTZ14LBC | FUJITSU | AWTZ14LBC | High Wall | 6 | 1.35 | 4.2 | 250 x 899 x 298 | http://www.fujitsugeneral.co.nz
FUJITSU AWTZ18LBC | FUJITSU | AWTZ18LBC | High Wall | 6.7 | 1.63 | 5.2 | 250 x 899 x 298 | http://www.fujitsugeneral.co.nz
GREE GWH09ABA-K6DNC8B/I/GWH09ABA-K6DNA1B/O | GREE | GWH09ABA-K6DNC8B/I/GWH09ABA-K6DNA1B/O | High Wall | 3.2 | 0.67 | 2.5 | 295 x 798 x 222 | http://www.greeonline.com
GREE GWH12ABA-K6DNC8B/I/GWH12ABA-K6DNA1B/O | GREE | GWH12ABA-K6DNC8B/I/GWH12ABA-K6DNA1B/O | High Wall | 3.8 | 0.78 | 3.5 | 295 x 798 x 222 | http://www.greeonline.com
GREE GWH15QD-K6DNC8D/I/GWH15QD-K6DNA1A/O | GREE | GWH15QD-K6DNC8D/I/GWH15QD-K6DNA1A/O | High Wall | 4.7 | 1.15 | 4.6 | 300 x 970 x 224 | http://www.greeonline.com
GREE GWH18QE-K6DNC8D/I/GWH18QE-K6DNA1D/O | GREE | GWH18QE-K6DNC8D/I/GWH18QE-K6DNA1D/O | High Wall | 5.8 | 1.34 | 5.2 | 325 x 1078 x 246 | http://www.greeonline.com
GREE GWH21QE-K6DNC8A/I/GWH21QE-K6DNA1A/O | GREE | GWH21QE-K6DNC8A/I/GWH21QE-K6DNA1A/O | High Wall | 7.3 | 1.8 | 6.1 | 325 x 1078 x 246 | http://www.greeonline.com
GREE GWH24QE-K6DNC8D/I/GWH24QE-K6DNA1D/O | GREE | GWH24QE-K6DNC8D/I/GWH24QE-K6DNA1D/O | High Wall | 8 | 2.08 | 7 | 325 x 1078 x 246 | http://www.greeonline.com
GREE GWH28QE-K6DNC8D/I/GWH28QE-K6DNA1D/O | GREE | GWH28QE-K6DNC8D/I/GWH28QE-K6DNA1D/O | High Wall | 9 | 2.55 | 8 | 325 x 1078 x 246 | http://www.greeonline.com
HAIER AS35NC2HRA(NF)/1U35QE4ERA | HAIER | AS35NC2HRA(NF)/1U35QE4ERA | High Wall | 4 | 0.96 | 3.5 | 310 x 900 x 210 | http://www.haier.co.nz/
HAIER AS35NC2HRA(NH)/1U35QE4ERA | HAIER | AS35NC2HRA(NH)/1U35QE4ERA | High Wall | 4 | 0.96 | 3.5 | 310 x 900 x 210 | http://www.haier.co.nz/
HAIER AS53HE1HRA(NF)/1U53RU3ERE | HAIER | AS53HE1HRA(NF)/1U53RU3ERE | High Wall | 5.5 | 1.37 | 5 | 336 x 1115 x 243 | http://www.haier.co.nz/
HAIER AS53HE1HRA(NH)/1U53RU3ERE | HAIER | AS53HE1HRA(NH)/1U53RU3ERE | High Wall | 5.5 | 1.37 | 5 | 336 x 1115 x 243 | http://www.haier.co.nz/
HAIER AS71NE1HRE(NF)/1U71SU3ERE | HAIER | AS71NE1HRE(NF)/1U71SU3ERE | High Wall | 8 | 2.12 | 7.3 | 336 x 1115 x 243 | http://www.haier.co.nz/
HAIER AS71NE1HRE(NH)/1U71SU3ERE | HAIER | AS71NE1HRE(NH)/1U71SU3ERE | High Wall | 8 | 2.12 | 7.3 | 336 x 1115 x 243 | http://www.haier.co.nz/
HAIER AS82NF1HRA(NH)/1U82SA2ERA | HAIER | AS82NF1HRA(NH)/1U82SA2ERA | High Wall | 9 | 2.45 | 8 | 365 x 1316 x 270 | http://www.haier.co.nz/
HAIER AS82NF1HRA(NL)/1U82SA2ERA | HAIER | AS82NF1HRA(NL)/1U82SA2ERA | High Wall | 9 | 2.45 | 8 | 365 x 1316 x 270 | http://www.haier.co.nz/
HITACHI RAF-35NXA1 / RAC-35NXA1 | HITACHI | RAF-35NXA1 / RAC-35NXA1 | Floor Console | 4.2 | 0.63 | 3.5 | 600 x 760 x 235 | http://www.temperzone.co.nz
HITACHI RAF-50NXA1 / RAC-50NXA1 | HITACHI | RAF-50NXA1 / RAC-50NXA1 | Floor Console | 6 | 0.63 | 5 | 600 x 760 x 235 | http://www.temperzone.co.nz
HITACHI RAS-E25YHA/RAC-E25YHA | HITACHI | RAS-E25YHA/RAC-E25YHA | High Wall | 3.2 | 0.68 | 2.5 | 280 x 780 x 218 | http://www.temperzone.co.nz
HITACHI RAS-E35YHA/RAC-E35YHA | HITACHI | RAS-E35YHA/RAC-E35YHA | High Wall | 4 | 0.93 | 3.5 | 280 x 780 x 218 | http://www.temperzone.co.nz
HITACHI RAS-E50YHA/RAC-E50YHA | HITACHI | RAS-E50YHA/RAC-E50YHA | High Wall | 6 | 1.48 | 5 | 300 x 900 x 230 | http://www.temperzone.co.nz
HITACHI RAS-E60YHA/RAC-E60YHA | HITACHI | RAS-E60YHA/RAC-E60YHA | High Wall | 7 | 1.83 | 6 | 300 x 900 x 230 | http://www.temperzone.co.nz
HITACHI RAS-E70YHA/RAC-E70YHA | HITACHI | RAS-E70YHA/RAC-E70YHA | High Wall | 8 | 1.98 | 7 | 300 x 1100 x 260 | http://www.temperzone.co.nz
HITACHI RAS-E80YHA/RAC-E80YHA | HITACHI | RAS-E80YHA/RAC-E80YHA | High Wall | 9 | 2.37 | 8 | 300 x 1100 x 260 | http://www.temperzone.co.nz
HITACHI RAS-S25YHA/RAC-S25YHA | HITACHI | RAS-S25YHA/RAC-S25YHA | High Wall | 3.2 | 0.63 | 2.5 | 280 x 780 x 230 | http://www.temperzone.co.nz
HITACHI RAS-S35YHA/RAC-S35YHA | HITACHI | RAS-S35YHA/RAC-S35YHA | High Wall | 3.8 | 0.63 | 3.5 | 280 x 780 x 230 | http://www.temperzone.co.nz
HITACHI RAS-S50YHA/RAC-S50YHA | HITACHI | RAS-S50YHA/RAC-S50YHA | High Wall | 6 | 1.4 | 5 | 300 x 1100 x 260 | http://www.temperzone.co.nz
HITACHI RAS-S60YHA/RAC-S60YHA | HITACHI | RAS-S60YHA/RAC-S60YHA | High Wall | 7 | 1.73 | 6 | 300 x 1100 x 260 | http://www.temperzone.co.nz
HITACHI RAS-S70YHA/RAC-S70YHA | HITACHI | RAS-S70YHA/RAC-S70YHA | High Wall | 8 | 1.98 | 7 | 300 x 1100 x 260 | http://www.temperzone.co.nz
HITACHI RAS-S80YHA/RAC-S80YHA | HITACHI | RAS-S80YHA/RAC-S80YHA | High Wall | 9 | 2.37 | 8 | 300 x 1100 x 260 | http://www.temperzone.co.nz
MITSUBISHI ELECTRIC MFZ-KJ25VE/MUFZ-KJ25VE | MITSUBISHI ELECTRIC | MFZ-KJ25VE/MUFZ-KJ25VE | Floor Console | 3.4 | 0.77 | 2.5 | 600 x 750 x 215 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MFZ-KJ35VE/MUFZ-KJ35VE | MITSUBISHI ELECTRIC | MFZ-KJ35VE/MUFZ-KJ35VE | Floor Console | 4.3 | 1.1 | 3.5 | 600 x 750 x 215 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-AP25VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP25VGKD-A1 | High Wall | 3.2 | 0.67 | 2.5 | 299 x 798 x 219 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-AP35VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP35VGKD-A1 | High Wall | 3.7 | 0.81 | 3.5 | 299 x 798 x 219 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-AP42VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP42VGKD-A1 | High Wall | 5.4 | 1.43 | 4.2 | 299 x 798 x 219 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-AP50VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP50VGKD-A1 | High Wall | 6 | 1.62 | 5 | 299 x 798 x 219 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-AP60VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP60VGKD-A1 | High Wall | 6.8 | 1.67 | 6 | 325 x 1100 x 258 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-AP71VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP71VGKD-A1 | High Wall | 8 | 2.09 | 7.1 | 325 x 1100 x 258 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-AP80VGKD-A1 | MITSUBISHI ELECTRIC | MSZ-AP80VGKD-A1 | High Wall | 9 | 2.55 | 7.8 | 325 x 1100 x 258 | http://www.mitsubishi-electric.co.nz/heatpump/c/9849/ecocore-ap-high-wall-heat-pumps
MITSUBISHI ELECTRIC MSZ-EF25VE2B | MITSUBISHI ELECTRIC | MSZ-EF25VE2B | High Wall | 3.2 | 0.7 | 2.5 | 299 x 885 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF25VE2S | MITSUBISHI ELECTRIC | MSZ-EF25VE2S | High Wall | 3.2 | 0.7 | 2.5 | 299 x 885 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF25VE2W | MITSUBISHI ELECTRIC | MSZ-EF25VE2W | High Wall | 3.2 | 0.7 | 2.5 | 299 x 885 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF25VEB | MITSUBISHI ELECTRIC | MSZ-EF25VEB | High Wall | 3.2 | 0.7 | 2.5 | 299 x 895 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF25VES | MITSUBISHI ELECTRIC | MSZ-EF25VES | High Wall | 3.2 | 0.7 | 2.5 | 299 x 895 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF25VEW | MITSUBISHI ELECTRIC | MSZ-EF25VEW | High Wall | 3.2 | 0.7 | 2.5 | 299 x 895 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF35VE2B | MITSUBISHI ELECTRIC | MSZ-EF35VE2B | High Wall | 4 | 0.96 | 3.5 | 299 x 885 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF35VE2S | MITSUBISHI ELECTRIC | MSZ-EF35VE2S | High Wall | 4 | 0.96 | 3.5 | 299 x 885 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF35VE2W | MITSUBISHI ELECTRIC | MSZ-EF35VE2W | High Wall | 4 | 0.96 | 3.5 | 299 x 885 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF35VEB | MITSUBISHI ELECTRIC | MSZ-EF35VEB | High Wall | 4 | 0.96 | 3.5 | 299 x 895 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF35VES | MITSUBISHI ELECTRIC | MSZ-EF35VES | High Wall | 4 | 0.96 | 3.5 | 299 x 895 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-EF35VEW | MITSUBISHI ELECTRIC | MSZ-EF35VEW | High Wall | 4 | 0.96 | 3.5 | 299 x 895 x 195 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-FH25VE | MITSUBISHI ELECTRIC | MSZ-FH25VE | High Wall | 3.2 | 0.58 | 2.5 | 305 x 925 x 234 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-FH25VEHZ | MITSUBISHI ELECTRIC | MSZ-FH25VEHZ | High Wall | 3.2 | 0.58 | 2.5 | 305 x 925 x 234 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-FH35VE-A | MITSUBISHI ELECTRIC | MSZ-FH35VE-A | High Wall | 4 | 0.8 | 3.5 | 305 x 925 x 234 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-FH35VEHZ | MITSUBISHI ELECTRIC | MSZ-FH35VEHZ | High Wall | 4 | 0.8 | 3.5 | 305 x 925 x 234 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-FH50VE-A | MITSUBISHI ELECTRIC | MSZ-FH50VE-A | High Wall | 6 | 1.48 | 5 | 305 x 925 x 234 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-FH50VEHZ | MITSUBISHI ELECTRIC | MSZ-FH50VEHZ | High Wall | 6 | 1.48 | 5 | 305 x 925 x 234 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE25VAD2-A | MITSUBISHI ELECTRIC | MSZ-GE25VAD2-A | High Wall | 3 | 0.66 | 2.5 | 295 x 798 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE35VAD | MITSUBISHI ELECTRIC | MSZ-GE35VAD | High Wall | 4 | 0.99 | 3.5 | 295 x 798 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE35VAD2-A | MITSUBISHI ELECTRIC | MSZ-GE35VAD2-A | High Wall | 4 | 0.99 | 3.5 | 295 x 798 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE42VAD2-A | MITSUBISHI ELECTRIC | MSZ-GE42VAD2-A | High Wall | 5 | 1.29 | 4.2 | 295 x 798 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE60VAD/MSZ-GE60VAD | MITSUBISHI ELECTRIC | MSZ-GE60VAD/MSZ-GE60VAD | High Wall | 6.8 | 1.77 | 6 | 325 x 1100 x 238 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE71VAD/MUZ-GE71VAD | MITSUBISHI ELECTRIC | MSZ-GE71VAD/MUZ-GE71VAD | High Wall | 8.1 | 2.11 | 7.1 | 325 x 1100 x 238 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GE80VAD | MITSUBISHI ELECTRIC | MSZ-GE80VAD | High Wall | 9 | 2.55 | 7.8 | 325 x 1100 x 238 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL25VGD/MUZ-GL25VGD | MITSUBISHI ELECTRIC | MSZ-GL25VGD/MUZ-GL25VGD | High Wall | 3.2 | 0.66 | 2.5 | 290 x 799 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL35VGD/MUZ-GL35VGD | MITSUBISHI ELECTRIC | MSZ-GL35VGD/MUZ-GL35VGD | High Wall | 3.7 | 0.81 | 3.5 | 290 x 799 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL42VGD | MITSUBISHI ELECTRIC | MSZ-GL42VGD | High Wall | 5.4 | 1.46 | 4.2 | 290 x 799 x 232 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL50VGD/MUZ-GL50VGD | MITSUBISHI ELECTRIC | MSZ-GL50VGD/MUZ-GL50VGD | High Wall | 5.8 | 1.37 | 4.8 | 305 x 923 x 250 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL60VGD/MUZ-GL60VGD | MITSUBISHI ELECTRIC | MSZ-GL60VGD/MUZ-GL60VGD | High Wall | 6.8 | 1.67 | 6 | 305 x 923 x 250 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL71VGD/MUZ-GL71VGD | MITSUBISHI ELECTRIC | MSZ-GL71VGD/MUZ-GL71VGD | High Wall | 8 | 2.09 | 7.1 | 325 x 1100 x 238 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-GL80VGD/MUZ-GL80VGD | MITSUBISHI ELECTRIC | MSZ-GL80VGD/MUZ-GL80VGD | High Wall | 9 | 2.55 | 7.8 | 325 x 1100 x 238 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MSZ-LN25VGB VGHZ | MITSUBISHI ELECTRIC | MSZ-LN25VGB VGHZ | High Wall | 3.2 | 0.59 | 2.5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69302B/hypercore-ln25-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN25VGR VGHZ | MITSUBISHI ELECTRIC | MSZ-LN25VGR VGHZ | High Wall | 3.2 | 0.59 | 2.5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69303B/hypercore-ln25-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN25VGV VGHZ | MITSUBISHI ELECTRIC | MSZ-LN25VGV VGHZ | High Wall | 3.2 | 0.59 | 2.5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69301B/hypercore-ln25-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN35VGB VGHZ | MITSUBISHI ELECTRIC | MSZ-LN35VGB VGHZ | High Wall | 4 | 0.82 | 3.5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69304B/hypercore-ln35-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN35VGR VGHZ | MITSUBISHI ELECTRIC | MSZ-LN35VGR VGHZ | High Wall | 4 | 0.82 | 3.5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69305B/hypercore-ln35-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN35VGV VGHZ | MITSUBISHI ELECTRIC | MSZ-LN35VGV VGHZ | High Wall | 4 | 0.82 | 3.5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69306B/hypercore-ln35-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN50VGB VGHZ | MITSUBISHI ELECTRIC | MSZ-LN50VGB VGHZ | High Wall | 6 | 1.5 | 5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69308B/hypercore-ln50-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN50VGR VGHZ | MITSUBISHI ELECTRIC | MSZ-LN50VGR VGHZ | High Wall | 6 | 1.5 | 5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69309B/hypercore-ln50-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN50VGV VGHZ | MITSUBISHI ELECTRIC | MSZ-LN50VGV VGHZ | High Wall | 6 | 1.5 | 5 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69307B/hypercore-ln50-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN60VGB | MITSUBISHI ELECTRIC | MSZ-LN60VGB | High Wall | 6.8 | 1.8 | 6.1 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69311B/deluxe-ln60-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN60VGR | MITSUBISHI ELECTRIC | MSZ-LN60VGR | High Wall | 6.8 | 1.8 | 6.1 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69312B/deluxe-ln60-high-wall-heat-pump
MITSUBISHI ELECTRIC MSZ-LN60VGV | MITSUBISHI ELECTRIC | MSZ-LN60VGV | High Wall | 6.8 | 1.8 | 6.1 | 307 x 890 x 233 | https://www.mitsubishi-electric.co.nz/heatpump/i/69310B/deluxe-ln60-high-wall-heat-pump
MITSUBISHI ELECTRIC MUFZ-KJ50VE-A1 | MITSUBISHI ELECTRIC | MUFZ-KJ50VE-A1 | Floor Console | 5.8 | 1.5 | 5 | 600 x 750 x 215 | http://www.mitsubishi-electric.co.nz
MITSUBISHI ELECTRIC MUFZ-KJ50VEHZ-A1 | MITSUBISHI ELECTRIC | MUFZ-KJ50VEHZ-A1 | High Wall | 5.8 | 1.5 | 5 | 600 x 750 x 215 | http://www.mitsubishi-electric.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT125VF/FDCA125VNX | MITSUBISHI HEAVY INDUSTRIES | FDT125VF/FDCA125VNX | Ceiling cassette | 14 | 3.43 | 12.5 | N/A | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT60VF/SRC60ZMXA-S | MITSUBISHI HEAVY INDUSTRIES | FDT60VF/SRC60ZMXA-S | Ceiling cassette | 6.7 | 1.7 | 5.6 | N/A | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT71VF1/FDC71VNX | MITSUBISHI HEAVY INDUSTRIES | FDT71VF1/FDC71VNX | Ceiling cassette | 8 | 1.94 | 7.1 | N/A | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT71VF1/FDCA71VNX | MITSUBISHI HEAVY INDUSTRIES | FDT71VF1/FDCA71VNX | Ceiling cassette | 8 | 1.94 | 7.1 | N/A | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK35ZMA-S/SRC35ZMA-S | MITSUBISHI HEAVY INDUSTRIES | SRK35ZMA-S/SRC35ZMA-S | High Wall | 4 | 0.96 | 3.3 | N/A | http://www.mhiaa.co.nz
Mitsubishi Heavy Industries SRK35ZSA-W / SRC35ZSA-W | Mitsubishi Heavy Industries | SRK35ZSA-W / SRC35ZSA-W | High Wall | 3.7 | 0.81 | 3.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK50ZMXA-S/SRC50ZMXA-S | MITSUBISHI HEAVY INDUSTRIES | SRK50ZMXA-S/SRC50ZMXA-S | High Wall | 6 | 1.36 | 5 | N/A | http://www.mhiaa.co.nz
Mitsubishi Heavy Industries SRK50ZSA-W / SRC50ZSA-W | Mitsubishi Heavy Industries | SRK50ZSA-W / SRC50ZSA-W | High Wall | 5.8 | 1.49 | 5 |  | http://www.mhiaa.co.nz
Mitsubishi Heavy Industries SRK71ZRA-W / SRC71ZRA-W | Mitsubishi Heavy Industries | SRK71ZRA-W / SRC71ZRA-W | High Wall | 8 | 2.02 | 7.1 |  | http://www.mhiaa.co.nz
Mitsubishi Heavy Industries SRK80ZRA-W / SRC80ZRA-W | Mitsubishi Heavy Industries | SRK80ZRA-W / SRC80ZRA-W | High Wall | 9 | 2.4 | 8 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRR25ZS-W | MITSUBISHI HEAVY INDUSTRIES | SRR25ZS-W | Floor Mounted | 3.4 | 0.74 | 2.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRR25ZS-W | MITSUBISHI HEAVY INDUSTRIES | SRR25ZS-W | Floor/Ceiling | 3.4 | 0.75 | 2.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES DXK06ZSA-W | MITSUBISHI HEAVY INDUSTRIES | DXK06ZSA-W | Wall Hung | 2.7 | 0.56 | 2 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK20ZSA-W | MITSUBISHI HEAVY INDUSTRIES | SRK20ZSA-W | Wall Hung | 2.7 | 0.56 | 2 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES DXK09ZSA-W | MITSUBISHI HEAVY INDUSTRIES | DXK09ZSA-W | Wall Hung | 3.2 | 0.65 | 2.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK25ZSA-W | MITSUBISHI HEAVY INDUSTRIES | SRK25ZSA-W | Wall Hung | 3.2 | 0.65 | 2.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES DXK12ZSA-W | MITSUBISHI HEAVY INDUSTRIES | DXK12ZSA-W | Wall Hung | 3.7 | 0.81 | 3.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK35ZSA-W | MITSUBISHI HEAVY INDUSTRIES | SRK35ZSA-W | Wall Hung | 3.7 | 0.81 | 3.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK20ZSXA-W | MITSUBISHI HEAVY INDUSTRIES | SRK20ZSXA-W | Wall Hung | 2.7 | 0.47 | 2 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRK25ZSXA-W | MITSUBISHI HEAVY INDUSTRIES | SRK25ZSXA-W | Wall Hung | 3.2 | 0.59 | 2.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRR35ZSA-W | MITSUBISHI HEAVY INDUSTRIES | SRR35ZSA-W | Wall Hung | 4.2 | 1.01 | 3.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT35ZSAWVH1 | MITSUBISHI HEAVY INDUSTRIES | FDT35ZSAWVH1 | Cassette | 4.25 | 1.08 | 3.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES SRF35ZSA-W | MITSUBISHI HEAVY INDUSTRIES | SRF35ZSA-W | Floor Mounted | 4.5 | 1.12 | 3.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT60ZMXAVH | MITSUBISHI HEAVY INDUSTRIES | FDT60ZMXAVH | Cassette | 6.7 | 1.56 | 5.6 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT60ZSXAWVH | MITSUBISHI HEAVY INDUSTRIES | FDT60ZSXAWVH | Cassette | 6.7 | 1.56 | 5.6 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT71AVNXVH | MITSUBISHI HEAVY INDUSTRIES | FDT71AVNXVH | Cassette | 8 | 1.91 | 5.6 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDE71AVNXWVH | MITSUBISHI HEAVY INDUSTRIES | FDE71AVNXWVH | Cassette | 8 | 1.75 | 7.1 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT71AVNXWVH | MITSUBISHI HEAVY INDUSTRIES | FDT71AVNXWVH | Cassette | 8 | 1.75 | 7.1 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDE100AVSAWVH | MITSUBISHI HEAVY INDUSTRIES | FDE100AVSAWVH | Under ceiling | 11.2 | 2.54 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDE100AVNAWVH | MITSUBISHI HEAVY INDUSTRIES | FDE100AVNAWVH | Under ceiling | 11.2 | 2.54 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT100AVSAWVH | MITSUBISHI HEAVY INDUSTRIES | FDT100AVSAWVH | Under ceiling | 11.2 | 2.54 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT100AVNAWVH | MITSUBISHI HEAVY INDUSTRIES | FDT100AVNAWVH | Under ceiling | 11.2 | 2.54 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT100VNPVH | MITSUBISHI HEAVY INDUSTRIES | FDT100VNPVH | Cassette | 11.2 | 2.84 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT100VNVH | MITSUBISHI HEAVY INDUSTRIES | FDT100VNVH | Cassette | 11.2 | 2.74 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT100VNPWVH | MITSUBISHI HEAVY INDUSTRIES | FDT100VNPWVH | Cassette | 10 | 2.33 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT125VSXVH | MITSUBISHI HEAVY INDUSTRIES | FDT125VSXVH | Under ceiling | 10 | 2.36 | 10 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT125AVNXWVH | MITSUBISHI HEAVY INDUSTRIES | FDT125AVNXWVH | Cassette | 14 | 3.43 | 12.5 |  | http://www.mhiaa.co.nz
MITSUBISHI HEAVY INDUSTRIES FDT125AVSXWVH | MITSUBISHI HEAVY INDUSTRIES | FDT125AVSXWVH | Cassette | 14 | 3.72 | 12.5 |  | http://www.mhiaa.co.nz
Panasonic CS/CU-RZ35VKR | Panasonic | CS/CU-RZ35VKR | High Wall | 3.7 | 0.8 | 3.5 |  | http://www.panasonic.co.nz
Panasonic CS/CU-RZ50VKR-1 | Panasonic | CS/CU-RZ50VKR-1 | High Wall | 5.8 | 1.51 | 5 |  | http://www.panasonic.co.nz
Panasonic CS/CU-RZ71VKR | Panasonic | CS/CU-RZ71VKR | High Wall | 7.5 | 2.06 | 7.1 |  | http://www.panasonic.co.nz
PANASONIC CS/CU-Z20TKR | PANASONIC | CS/CU-Z20TKR | High Wall | 2.05 | 0.55 | 2.7 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z25TKR | PANASONIC | CS/CU-Z25TKR | High Wall | 2.5 | 0.62 | 3.2 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z25UFR | PANASONIC | CS/CU-Z25UFR | Floor Console | 3.4 | 0.74 | 2.5 | 600 x 750 x 207 | https://www.panasonicaircon.co.nz/range/floor-mounted/premier-series/cscu-z25ufr-premier-series-floor-console
PANASONIC CS/CU-Z35TKR | PANASONIC | CS/CU-Z35TKR | High Wall | 3.5 | 0.94 | 4.3 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z35UFR | PANASONIC | CS/CU-Z35UFR | Floor Console | 4.3 | 1.06 | 3.5 | 600 x 750 x 207 | https://www.panasonicaircon.co.nz/range/floor-mounted/premier-series/cscu-z35ufr-premier-series-floor-console
PANASONIC CS/CU-Z42TKR | PANASONIC | CS/CU-Z42TKR | High Wall | 4.2 | 1.34 | 5.1 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z50TKR | PANASONIC | CS/CU-Z50TKR | High Wall | 5 | 1.31 | 6 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z50UFR | PANASONIC | CS/CU-Z50UFR | Floor Console | 5.6 | 1.47 | 5 | 600 x 750 x 207 | https://www.panasonicaircon.co.nz/range/floor-mounted/premier-series/cscu-z50ufr-premier-series-floor-console
PANASONIC CS/CU-Z60TKR | PANASONIC | CS/CU-Z60TKR | High Wall | 6 | 1.78 | 7.2 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z71TKR | PANASONIC | CS/CU-Z71TKR | High Wall | 7.1 | 2.11 | 8 | N/A | http://www.panasonic.co.nz
PANASONIC CS/CU-Z80TKR | PANASONIC | CS/CU-Z80TKR | High Wall | 8 | 2.41 | 9 | N/A | http://www.panasonic.co.nz
PANASONIC CS-CU-E9PKR | PANASONIC | CS-CU-E9PKR | High Wall | 3.6 | 0.75 | 2.6 | N/A | http://www.panasonic.co.nz
PANASONIC CS-E24PKR/CU-E24PKR | PANASONIC | CS-E24PKR/CU-E24PKR | High Wall | 8 | 2.21 | 7 | N/A | http://www.panasonic.co.nz
PANASONIC CS-RE12PKR/CU-RE12PKR | PANASONIC | CS-RE12PKR/CU-RE12PKR | High Wall | 4.25 | 1.09 | 3.5 | N/A | http://www.panasonic.co.nz
PANASONIC CS-RE24PKR/CU-RE24PKR | PANASONIC | CS-RE24PKR/CU-RE24PKR | High Wall | 8 | 2.21 | 7 | N/A | http://www.panasonic.co.nz
Panasonic CS-RZ25VKRW / CU-RZ25VKR | Panasonic | CS-RZ25VKRW / CU-RZ25VKR | High Wall | 3 | 0.64 | 2.5 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z20VKR | Panasonic | CS/CU-Z20VKR | High Wall | 2.7 | 0.55 | 2.05 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z25VKR | Panasonic | CS/CU-Z25VKR | High Wall | 3.2 | 0.62 | 2.5 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z35VKR | Panasonic | CS/CU-Z35VKR | High Wall | 4.3 | 0.94 | 3.5 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z42VKR | Panasonic | CS/CU-Z42VKR | High Wall | 5.1 | 1.34 | 4.2 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z50VKR | Panasonic | CS/CU-Z50VKR | High Wall | 6 | 1.31 | 5 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z60VKR | Panasonic | CS/CU-Z60VKR | High Wall | 7.2 | 1.78 | 6 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z71VKR | Panasonic | CS/CU-Z71VKR | High Wall | 8 | 2.11 | 7.1 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-Z80VKR | Panasonic | CS/CU-Z80VKR | High Wall | 9 | 2.41 | 8 |  | https://www.panasonicaircon.co.nz
Panasonic CS/CU-RZ71VKR-M | Panasonic | CS/CU-RZ71VKR-M | Wall Hung | 7.5 | 2.06 | 7.1 |  | http://www.panasonic.co.nz
Panasonic CS/CU-RZ50VKR-M | Panasonic | CS/CU-RZ50VKR-M | Wall Hung | 5.8 | 1.51 | 5 |  | http://www.panasonic.co.nz
Panasonic CS/CU-RZ25WKR | Panasonic | CS/CU-RZ25WKR | Wall Hung | 3 | 0.64 | 2.5 |  | http://www.panasonic.co.nz
Panasonic CS/CU-RZ35WKR | Panasonic | CS/CU-RZ35WKR | Wall Hung | 3.7 | 0.8 | 3.5 |  | http://www.panasonic.co.nz
TOSHIBA G2KVP10 | TOSHIBA | G2KVP10 | High Wall | 3.2 | 0.58 | 2.5 | 293x831x270 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/g2kvp-hi-wal
TOSHIBA G2KVP13 | TOSHIBA | G2KVP13 | High Wall | 4 | 0.8 | 3.5 | 293x831x270 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/g2kvp-hi-wal
TOSHIBA G2KVP16 | TOSHIBA | G2KVP16 | High Wall | 5.5 | 1.37 | 4.5 | 293x831x270 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/g2kvp-hi-wal
TOSHIBA PKVG07 | TOSHIBA | PKVG07 | High Wall | 2.5 | 0.55 | 2 | 293x798x230 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall
TOSHIBA PKVG10 | TOSHIBA | PKVG10 | High Wall | 3.2 | 0.69 | 2.5 | 293x798x230 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall
TOSHIBA PKVG13 | TOSHIBA | PKVG13 | High Wall | 3.7 | 0.8 | 3.5 | 293x798x230 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall
TOSHIBA PKVG16 | TOSHIBA | PKVG16 | High Wall | 5.4 | 1.43 | 4.2 | 293x798x230 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall
TOSHIBA PKVG18 | TOSHIBA | PKVG18 | High Wall | 5.8 | 1.36 | 4.8 | 320x1050x250 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall
TOSHIBA PKVG22 | TOSHIBA | PKVG22 | High Wall | 6.9 | 1.63 | 6 | 320x1050x250 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall
TOSHIBA PKVG24 | TOSHIBA | PKVG24 | High Wall | 8 | 2.07 | 7.1 | 320x1050x250 | https://www.toshibaheatpumps.com/products/residential/single-split-systems/pkvsg-hi-wall