## Commercial
EV Smart Charger Approved List Commercial | EV Smart Charger Approved List Commercial
| Brand | Charger name | Supplier Link | Mount method | Connectors | Max output | Input power | AC or DC | Fast? | Model numbers
| ABB | Terra AC 11kW | https://new.abb.com/ev-charging/terra-ac-wallbox | Wall & Pedestal | 1 | 11kW | Three-phase | AC | No | 6AGC105908 6AGC105911 6AGC105907 6AGC105910 6AGC082156 6AGC105909 6AGC105900
| ABB | Terra AC 22kW | https://new.abb.com/ev-charging/terra-ac-wallbox | Wall & Pedestal | 1 | 22kW | Three-phase | AC | No | 6AGC081279 6AGC082152 6AGC082589 6AGC082154 6AGC082157 6AGC082158 6AGC081282 6AGC081285
| ABB | Terra AC 3.7kW | https://new.abb.com/ev-charging/terra-ac-wallbox | Wall & Pedestal | 1 | 3.7kW | Single-phase | AC | No | 6AGC105912 6AGC082587 6AGC085384
| ABB | Terra AC 7.4kW | https://new.abb.com/ev-charging/terra-ac-wallbox | Wall & Pedestal | 1 | 7.4kW | Single-phase | AC | No | 6AGC081278 6AGC085382 6AGC085383 6AGC101252 6AGC105906 6AGC082155 6AGC085385 6AGC101191
| Autel | Maxi Charger 22kW | https://smartevchargers.co.nz/shop/wall-mount-ev-chargers/autel-maxi-charger-ac-22kw-lcd/ | Wall & Pedestal | 1 | 22kW | Three-phase | AC | No | Autel-maxi-22kW
| Autel | Maxi Charger 7.4kW | https://smartevchargers.co.nz/shop/wall-mount-ev-chargers/autel-maxi-charger-ac-wallbox-7-4kw-wifi/ | Wall & Pedestal | 1 | 7.4kW | Single-phase | AC | No | Autel-maxi-7.4kW
| Cornerstone | LIGHT AC Charger 7kW | https://www.rcrcharge.co.nz/light-ac-charger | Wall & Pedestal | 1 | 7kW | Single-phase | AC | No | LT1SEE-25GS LT1SEO-25GS LT1S4O-25GS
| Cornerstone | LIGHT AC Charger 22kW | https://www.rcrcharge.co.nz/light-ac-charger | Wall & Pedestal | 1 | 22kW | Three-phase | AC | No | LT1TEE-25GS LT1TEO-25GS LT1T4O-25GS
| Cornerstone | GLOW AC Charger 7kW | https://www.rcrcharge.co.nz/glow-ac-charger | Wall & Pedestal | 1 | 7kW | Single-phase | AC | No | GA1SEE-25GS GD1SEE-25GS GA1SEE-CXGS GD1SEE-CXGS
| Cornerstone | GLOW AC Charger 22kW | https://www.rcrcharge.co.nz/glow-ac-charger | Wall & Pedestal | 1 | 22kW | Three-phase | AC | No | GA1TEE-25GS GD1TEE-25GS GA1TEE-CXGS GD1TEE-CXGS
| Cornerstone | FlexiDC60HX | https://www.rcrcharge.co.nz/flexidc-hx-series | Floor | 2 | 60kW | Three-phase | DC | Yes | FlexiDC60HX-200
| Cornerstone | FlexiDC120HX | https://www.rcrcharge.co.nz/flexidc-hx-series | Floor | 2 | 120kW | Three-phase | DC | Yes | FlexiDC120HX-200 FlexiDC120HXQ-300 FlexiDC120HXQ-350 FlexiDC120HXQ-380
| Delta Electronics | AC MAX Smart | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/AC-MAX | Wall & Pedestal | 1 | 7.4kW | Single-phase | AC | No | EIAW-E7KSSE5A04
| Delta Electronics | AC MAX Smart | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/AC-MAX | Wall & Pedestal | 1 | 7.4kW (single-phase) or 11kW (three-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | EIAWE22KTSE5A04 EIAWE22KTSH0A04 EIAW-E22KTSS0A04
| Delta Electronics | DC City Charger 150kW | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/City-Charger-150kW200kW | Floor | 2 | 150kW total | Three-phase | DC | Yes | EIDS-E150TSEEA01
| Delta Electronics | DC City Charger 200kW | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/City-Charger-150kW200kW | Floor | 2 | 200kW total | Three-phase | DC | Yes | EIDS-E200TSEEA01
| Delta Electronics | High power charger - HPC350 | https://www.delta-americas.com/en-US/products/EV-Charging/High-Power-Charger-350kW | Floor | 2 | 350kW total | Three-phase | DC | Yes | EIDD-E
| Delta Electronics | DC Wallbox 50kW | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/DC-Wallbox-50 | Wall & pedestal | 2 | 50kW total | Three-phase | DC | Yes | EIDW-S50TSEEA02 EIDW-S50TSEEA06 EIDW-S50TSEJA02 EIDW-S50TSEJA06
| Delta Electronics | DC Wallbox 50kW | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/DC-Wallbox-50 | Wall & pedestal | 3 | 50kW total DC, 22kW total AC | Three-phase | Multiple-output AC and DC | Yes | EIDW-S50TSRA02 EIDW-S50TSPA02
| Delta Electronics | DC City Charger 100 kW | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/City-Charger-50kW100kW | Floor | 2 | 100kW total | Three-phase | DC | Yes | EVHE104EKCA05 EVHE104EFCA05
| Delta Electronics | DC City Charger 100 kW | https://www.deltaelectronics.com.au/en-AU/products/EV-Charging/City-Charger-50kW100kW | Floor | 3 | 100kW total DC, 22kW total AC | Three-phase | Multiple-output AC and DC | Yes | EVHE104ENCA05
| EO | Genius 2 22kW | https://yhienergy.co.nz/Product/1050530/eo-genius_2-22kw_genius_2-48974 | Wall | 1 | 22kW | Three-phase | AC | No | EG203-DCL-GSM-PLC-NMA
| EO | Genius 2 7kW | https://yhienergy.co.nz/product/1050530 | Wall | 1 | 7kW | Single-phase | AC | No | EG201-DCL-GSM-PLC-NMI
| Etrel | Inch Pro | https://thundergrid.net/product/inch-pro-ev-charger/ | Wall | 1 | 7.4kW (single-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | G-PC1Z5EY40 G-PC1Z5EYA0 G-PC1V5EY40 G-PC1V5EYA0 G-PC1S5EY40 G-PC1S5EYA0
| Etrel | Inch Pro Duo | https://thundergrid.net/product/inch-duo-smart-ev-charger/ | Floor | 2 | 22kW + 22kW | Three-phase | AC | No | G-DC3ZFBY40
| Evnex | X22 | https://www.evnex.com/ | Wall & Pedestal | 1 | 22kW | Three-phase | AC | No | X22-T2T X22-T2T-W X22-T2S X22-T2S-W X22-T2T-GCC
| Evnex | X7 | https://www.evnex.com/ | Wall & Pedestal | 1 | 7.4kW | Single-phase | AC | No | X7-T2S X7-T2S-W X7-T2T X7-T2T-W X7-T1T X7-T1T-W X7-T2T-GCC
| Ocular | IQ Commercial | https://ocularcharging.com.au/ocular-iq-commercial/ | Wall & pedestal | 1 | 7.4kW | Single-phase | AC | No | IOCAW05C-7S IOCAW05C-7T
| Ocular | IQ Commercial | https://ocularcharging.com.au/ocular-iq-commercial/ | Wall & pedestal | 1 | 7.4kW (single-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | IOCAW05C-22S IOCAW05C-22T
| Ocular | IQ Tower | https://ocularcharging.com.au/ocular-iq-dual-tower/ | Floor | 2 | 7.4kW + 7.4kW | Single-phase | AC | No | IOCAP06C-7S 4G IOCAP06C-7T 4G
| Ocular | IQ Tower | https://ocularcharging.com.au/ocular-iq-dual-tower/ | Floor | 2 | 7.4kW + 7.4kW (single-phase) or 22kW + 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | IOCAP06C-22S 4G IOCAP06C-22T 4G
| Ocular | IQ Wallbox | https://ocularcharging.com.au/ocular-iq-wallbox/ | Wall & pedestal | 1 | 7.4kW | Single-phase | AC | No | IOCAH10R-7S IOCAH10R-7T
| Ocular | IQ Wallbox | https://ocularcharging.com.au/ocular-iq-wallbox/ | Wall & pedestal | 1 | 7.4kW (single-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | IOCAH10R-22S IOCAH10R-22T
| Orbis | Viaris Combi + | https://www.eurotec.co.nz/electric-vehicle-charger/ | Wall & Floor | 1 | 22kW | Three-phase | AC | No | OB94P720KA2 OB94P7AOKA2 OB94P720KA4 OB94P7AOKA4 OB94P7COKA2 OB94P7COKA4
| Orbis | Viaris Combi + | https://www.eurotec.co.nz/electric-vehicle-charger/ | Wall & Floor | 2 | 22kW + 22kW | Three-phase | AC | No | OB94P722KA2 OB94P72AKA2 OB94P72CKA2 OB94P7ACKA2 OB94P7AAKA2 OB94P7CCKA2 OB94P722KA4 OB94P72AKA4 OB94P72CKA4 OB94P7ACKA4 OB94P7AAKA4 OB94P7ACKA4
| Orbis | Viaris Uni | https://www.eurotec.co.nz/electric-vehicle-charger/ | Wall | 1 | 22kW | Three-phase | AC | No | OB94U720HA1 OB94U7AOHA1 OB94U720HA2 OB94U7AOHA2 OB94U720HA3 OB947AOHA3 OB94U720HA4 OB94U7AOHA4 OB94U7COHA1 OB94U7COHA2 OB94U7COHA3 OB94U7COHA4
| Kwetta | Skyhook | https://www.kwetta.com | Floor | 1 | 200kW | Three-phase | DC | Yes | SK200
| Schneider Electric | EVlink Pro AC | https://www.se.com/au/en/product/EVB3S07NC0/charging-station-evlink-pro-ac-ac-metal-7-4kw-32a-1p+n-t2-attached-cable-rdcdd-6ma-mnx-aux-/ | Wall & pedestal | 1 | 7.4kW | Single-phase | AC | No | EVB3S07N40M EVB3S07NC0
| Schneider Electric | EVlink Pro AC | https://www.se.com/nz/en/product/EVB3S22N4/evlink-pro-ac-ac-metal-chargingstation-22kw-32a-3p+n-t2s-socket-outlet-rdcdd-6ma-mnx-aux-/ | Wall & pedestal | 1 | 7.4kW (single-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | EVB3S22N4 EVB3S22N40M EVB3S22NC0 EVB3S22NC0M
| Siemens | Versicharge 22kW | https://yhienergy.co.nz/product/siemens-versicharge-1049080.htmx?focusproductid=32346 | Wall & Pedestal | 1 | 22kW | Three-phase | AC | No | 8EM1310-3EH04-0GA0 8EM1310-3EJ04-0GA0 8EM1310-3EH04-3GA2 8EM1310-3EJ04-3GA2
| Siemens | Versicharge 7kW | https://yhienergy.co.nz/default.aspx?page=isellproduct&product=1049080&childproduct=32348 | Wall & Pedestal | 1 | 7kW | Single-phase | AC | No | 8EM1310-2EH04-0GA0 8EM1310-2EJ04-0GA0 8EM1310-2EH04-3GA2 8EM1310-2EJ04-3GA2
| Smart EV Chargers | Smart EV Wall Charger with DLB | https://smartevchargers.co.nz/shop/wall-mount-ev-chargers/smart-ev-wall-charger-with-dlb-and-wifi/ | Wall & Pedestal | 1 | 7.4kW | Single-phase | AC | No | 32a-EV-wall-charger-DLB 32a-EV-wall-charger-DLB-1
| Teltonika Energy | TeltoCharge | https://wiki.teltonika-energy.com/view/TeltoCharge_EVC16x | Wall & Pedestal | 1 | 7.4kW | Single Phase | AC | No | EVC161400001 EVC161500001 EVC160400001 EVC160500001
| Teltonika Energy | TeltoCharge | https://wiki.teltonika-energy.com/view/TeltoCharge | Wall & Pedestal | 1 | 7.4kW | Single Phase | AC | No | EVC101000000 EVC1010P1000 EVC1000P4011 EVC100000000
| Teltonika Energy | TeltoCharge | https://wiki.teltonika-energy.com/view/TeltoCharge | Wall & Pedestal | 1 | 22kW | Three Phase | AC | No | EVC121100000 EVC120000000 EVC121000000 EVC1210P1000 EVC1200P4011 EVC1211P1000 EVC1201P4011 EVC120100000
| Wallbox | Pulsar Max | https://www.evc.co.nz/products/wallbox-pulsar-max | Wall & Floor | 1 | 7.4kW | Single-phase | AC | No | EVC-PULSARMAX-T2 EVC-PULSARMAX-T1-WH (PLP2-0-1-2-F-001) EVC-PULSARMAX-T1-BK (PLP2-0-1-2-F-002) EVC-PULSARMAX-T2-WH (PLP2-0-2-2-F-001) EVC-PULSARMAX-T2-BK (PLP2-0-2-2-F-002) EVC-PULSARMAX-T2-WH-7M (PLP2-M-2-2-F-001) EVC-PULSARMAX-T2-BK-7M (PLP2-M-2-2-F-002)
| Wallbox | Pulsar Pro | https://www.evc.co.nz/products/pulsar-pro | Wall & Floor | 1 | 7.4kW | Single-phase | AC | No | EVC-PULSARPRO-T2 VC-PULSARPRO-T2-BK (PPR1-0-2-2-T-002) EVC-PULSARPRO-T2-BK (PPR1-0-2-2-K-002) EVC-PULSARPRO-2-BK-7M (PPR1-M-2-2-T-002) EVC-PULSARPRO-2-BK-7M (PPR1-M-2-2-K-002)
| Wallbox | Supernova | https://www.evc.co.nz/products/wallbox-supernova | Floor | 2 | 120kW total | Three-phase | DC | Yes | EVC-WB-120KW-DC DCF2-228-84680000-WV3 DCF2-228-84680000-WB1 DCF2-228-84600000-WV3 DCF2-228-84600000-WB1
| Wallbox | Supernova | https://www.evc.co.nz/products/wallbox-supernova | Floor | 2 | 150kW total | Three-phase | DC | Yes | EVC-WB-150KW-DC DCF2-225-84600000-WB1 DCF2-225-84600000-WV3 DCF2-225-84680000-WB1 DCF2-225-84E00000-WB1 DCF2-225-84E80000-WB1 DCF2-225-84E00000-WV3 DCF2-225-84680000-WV3 DCF2-225-84E80000-WV3
| Zerova/Phihong | DS Series 60kW | https://yhienergy.co.nz/product/1051183 | Floor | 2 | 60kW total | Three-phase | DC | Yes | DSYE601E0ED2PH-RW DSYE601J0ED2PH-RW
| Zerova/Phihong | DW Series 30kW | https://yhienergy.co.nz/product/1051182 | Wall & Pedestal | 1 | 30kW total | Three-phase | DC | Yes | DWYE301E00D1PH-RW DWYE301J0ED1PH-RW
| DAHUA TECHNOLOGY | Intelligent EV Charger | https://www.dahuasecurity.com/au/search/products?keyword=D-Volt | Wall & pedestal | 1 | 7.4kW | Single-phase | AC | No | DHI-ICS-A070E-H1D DHI-ICS-A070E-H2D DHI-ICS-A070E-H1D-Z DHI-ICS-A070E-H2D-Z DHI-ICS-A070E-B1D DHI-ICS-A070E-B2D DHI-ICS-A070E-B1D-Z DHI-ICS-A070E-B2D-Z
| DAHUA TECHNOLOGY | Intelligent EV Charger | https://www.dahuasecurity.com/au/search/products?keyword=D-Volt | Wall & pedestal | 1 | 11kW | Three-phase | AC | No | DHI-ICS-A110E-H1D DHI-ICS-A110E-H2D DHI-ICS-A110E-H1D-Z DHI-ICS-A110E-H2D-Z DHI-ICS-A110E-B1D DHI-ICS-A110E-B2D DHI-ICS-A110E-B1D-Z DHI-ICS-A110E-B2D-Z
| DAHUA TECHNOLOGY | Intelligent EV Charger | https://www.dahuasecurity.com/au/search/products?keyword=D-Volt | Wall & pedestal | 1 | 7.4kW (single-phase) or 11kW (three-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | DHI-ICS-A220E-H1D DHI-ICS-A220E-H2D DHI-ICS-A220E-H1D-Z DHI-ICS-A220E-H2D-Z DHI-ICS-A220E-B1D DHI-ICS-A220E-B2D DHI-ICS-A220E-B1D-Z DHI-ICS-A220E-B2D-Z
| Schneider Electric | Charge Pro | https://www.se.com/nz/en/product/EVB4S22NC0/charging-station-schneider-charge-pro-1p3p-1xatt-cable-7-41122kw-1632a/ | Wall & pedestal | 1 | 7.4kW (single-phase) or 11kW (three-phase) or 22kW (three-phase) | Configurable, single-phase or three-phase | AC | No | EVB4S22N40 EVB4S22N40G EVB4S22NC0 EVB4S22NC0G
| Smart EV Chargers | Charger Tower | https://smartevchargers.co.nz/shop/wall-mount-ev-chargers/dual-output-22kw-ev-charging-pedestal/ | Floor | 2 | 22kW | Three-phase | AC | No | Charge-Tower
| EV Power | EcoCharge Wall Charger 7kw (OCPP) | https://evpower.co.nz/product/ecocharge-wall-charger-7kw-ocpp/ | Wall & pedestal | 1 | 7kW | Single-phase | AC | No | SEPWC32O SEPWC32OT7